Insert Trust LOGO

BOARD OF DIRECTORS - PART 2 MEETING

Date: 16th April 2024

| Subject: | Hospital site energy options |
| --- | --- |
| Prepared by: | Please enter the name(s) and role(s) of the paper’s authors |
| Presented by: | Please enter the name(s) of the presenter(s) (and who should also have overall responsibility for the paper) |

| Strategic themes that this item supports/impacts: | Systems working and partnership ☐ Our people ☐ Patient experience ☐ Quality: outcomes and safety ☒ Sustainable services ☒ Patient First program ☐ One Team: patient ready for ☐ reconfiguration |
| --- | --- |
| BAF/Corporate Risk Register: (if applicable) | Sustainability and Decarbonisation |
| Purpose of paper: | Decision/Approval |
| Executive Summary: | The NHS has set a target for all the national estate to be net carbon zero by 2040. The carbon footprint is made up of many factors. One of the larger is the site heating demand which derives from the use of fossil fuel, ie natural gas. The trust has a range of options as mentioned in this paper with the two primary being, an electric led solution that is comparatively simple to achieve but comes at a high revenue cost, will require circa £[xx]m of funds, or a geothermal option that is lengthy and challenging due to the need to drill into hot water beneath the hospital at a depth of approximately 2km. however this may reduce or retain current revenue costs Scheme cost summary. There is a significant variation in the calculated NPV of the two options, this is driven by the cost of power and the forecast cost of geothermal heat which is based on a drill cost of circa £[xx]m. In all cases the Geothermal delivers a positive return at an energy cost below the electrically led heat pump option. The paper recommends that a feasibility of a geothermal scheme is carried out in conjunction with [ trust advisors ] through a framework scheme, this will explore both grant funded and energy supply options. Risk Through the feasibility & exploration stages this is limited to fees identified in the [ trust adisors ] proposals. [ please explain – typically 8% of capital ]. |
| Background: | The NHS has set a target for all of the estate to be net carbon zero by 2040. The carbon footprint is made up of many factors and these can be seen in the [ hospital green plan.] Energy usage is one of the primary contributors to the trust carbon footprint and we use two main types, being power in the form of electricity and gas to provide the energy for heating and hot water. The power supply to site is being decarbonized by the introduction of renewable and low carbon generation across the national grid and locally by PV installations. The gas supply being a fossil fuel will be required to be replaced. This paper focuses on the energy requirements for [ XXXXXXX] hospital but will also inform the strategy for [ the XXXXX site linking also to options for others.] The hospital site currently uses [ ??] million kilowatt hours of energy each year supplied from power, gas and heat [The planned site developments once occupied will increase these figures as 25% occupied area is added to the site load.] This mix of energy has a significant cost and the total spend on energy in the 2023-24 period was £[xx]m. The differential in the energy prices with electricity being 3-4 times the price of gas has naturally led to gas being the preferred fuel of choice. With electricity accounting for 75% of the spend of energy. The trust has primarily a choice of two solutions moving forward towards becoming net zero, - To adopt an all-electric solution using heat pump technology that will derive the useful energy from either an air-source, ground-source, or water-source. This will have a significant revenue cost due to the higher price of electric power compared to gas. Heat pump technology is developing rapidly in the current market but the requirement for relatively high supply temperatures in the healthcare setting means that the performance of these heat pump units is typically at a ratio of 2.5 :1. That is for every unit of power you supply you will provide 2.5 units of useful heat. Given the expected heating demand of 22 million kWh this will require in the region of 10 million kWh of power. The power capacity requirement for this [ has/ has not ] been factored into the new supply that is being routed from a DNO connection to the Hospital primary sub-station. This capacity can be released if not required in the future. - To develop a geothermal solution that pulls heat energy from the geology below the Hospital site. This will involve drilling to depth of between 1.5 – 2.5 km and pumping the hot water allow the energy to be transferred into the current heating distribution system. The deep drill solution should be able to provide a 70 – 80-degree Celsius delivery temperature. Any reduced temperature from a shallow drill would deliver temperatures in the 50 – 60-degree range that will require raising through secondary heat pumps to the higher delivery temp by supplementary heating. - Representation of Geothermal installation below ground - Be aware that a further solution based on hydrogen gas replacing natural gas has been considered but this is unlikely to be available in the local area in the foreseeable future. - [Also there is no current option to utilise district heating services as this does not exist in the hospital location and the council has no current plan in place to deliver this.] [ There is an opportunity to sell excess geothermal energy to the council through a district energy solution ] Review of options, Technical and Financial To inform this paper there has been discussion with suppliers and other NHS organisations that are progressing solutions. A collaboration of advisors linked to the NHS have presented nationally under the title of NH Power. This team have developed a financial model to allow the NHS organisations to look at the opportunities that may be available. In addition, the Department for Energy Security & Net Zero have produced a deep geothermal energy white paper in association with the NE enterprise and Net zero hub, this white paper aims to provide an evidence-based assessment and ‘case making’ document to help accelerate the development and deployment of deep geothermal energy projects in the UK. From the information provided we have opportunity both in terms of available energy and accessibility or depth to develop a geothermal solution for the site. Ground heat information. Map of geothermal opportunities Local investigation by a drilling specialist, shows how the historic record data that was generated for the oil and gas exploration in the area can be used to inform our opportunity for a geothermal solution. There is extensive data from the production and exploration wells that covers 175Km of line data east and west southwest of the hospital site[ replace with BGS information relative to your site ] Subsurface information Survey line GCE-80-V170 runs adjacent to the hospital site. This data suggests that if suitable water reservoir formations can be identified below the Permian layer shown to be approximately 2,000m at the site, temperatures of 80 degrees or greater could be possible. Location The land adjacent to the hospital provides the opportunity for the development of a deep geothermal well without disruption to the hospital site activity. [ replace with appropriate part of site drawing ] Whilst the initial drill stages take up a significant footprint and may take a year to construct. Once developed a geothermal installation has a limited footprint that can be incorporated into the developments adjacent to the site primary energy center and possible heat network customers. Impression of underground geothermal facility Heat pump solution. Heat pump technology is widely used in all sectors to provide heating and sometimes cooling. The equipment is relatively inexpensive and reliable, however the higher cost of power over gas has made this an expensive alternative in many cases. New build installations can favour heat pump technology as only one prime energy source is required to site and the building system can be designed to operate at 40-50 degrees to get the optimum performance out of the heat pumps with a performance expected at 3.5:1 to 4:1. Applying heat pumps to existing systems that are designed to work at higher temperatures, 70 – 80 degrees, reduces the efficiency of the units to typically 2.5:1 and so drives up the revenue cost of operation. A basic heat pump operates on a refrigeration cycle by taking heat from a chosen available external source, Air, Ground, or Water by cooling it and then passing the heat into the building system. As the national supply grid decarbonizes this will become the major low carbon solution where alternatives are not available. Financial review While carrying out the review of the possible options for the site using the NHPower model it should be noted that this has within it a range of energy reduction measures that are designed to assist in the path to net zero. These include installation of improved heating controls, LED lighting installation and renewable energy. There is an option in the model to fund these measures estimated at £[??]m from the trust capital or overall energy scheme. To set a base line for comparison the NH Power model was populated with the Hospital site energy data The current carbon footprint and target was calculated as below. NPV=0 The inclusion of demand reduction measures and renewable power generation funded by the trust reduces the base footprint and delivers a positive NPV of £13.4m at an equivalent heat cost 13.6 p/kWh but does not achieve the net zero target. Selecting the decarbonisation option utilizing either heat pumps or geothermal heat will achieve the NHS target reduction for energy. NPV forecasts There is a significant variation in the NPV of the two options driven by the cost of power and the forecast cost of geothermal heat. In all cases the Geothermal delivers a positive return at a value below the electrically led heat pump option. Heat pump option, The NPV over a 15-year life of the equipment is calculated at [Negative £25.2m] The equivalent heat price for comparison is [33.5 p/kWh] The scheme may be eligible for grant funding PSDS or similar which at the current maximum rate of 88% would reduce this to [Negative £13.4m] The equivalent heat price for comparison is [26.3 p/kWh] Geothermal option, The NPV over a 30-year life of the equipment is calculated at [Positive £13.2m] The equivalent heat price for comparison is [18.63 p/kWh] The scheme may be eligible for grant funding PSDS or similar which at the current maximum rate of 88% would increase this to [Positive £44.4m] The equivalent heat price for comparison is [9.9 p/kWh] Next steps There are four phases in the development of a geothermal system highlighted below. The NHPower team can support any trust wishing to explore the opportunities for this through a range of packages. The initial action is to join the procurement process by agreeing a membership of the collaboration. An MOU confirming cost, fees and process will be agreed. This collaboration will see approximately ten NHS organisations go to market as a 2nd geothermal cohort. This will allow for effective feasibility to be carried out on the site chosen. [Capital option. (reduces energy costs) £150-£200k £4-£6m £5m-10m £0 Revenue option. (increases energy costs) £0 £0 £0 Agreed p/kWh Fees £6-£8k £160k-£240k £200k-£400k £10-£20k M&V ] The expected cost for the initial discover phase is advised to be up to £200k, this is informed by the initial cohort that included and was led through the procurement by Salisbury NHSFT. Many of the costs could be either rolled up into the final revenue payments for energy or funded by capital or possible grant payments. The elements would be recognized as “milestone payments during each phase and the [ ] fee to [ Trust advisors ] will be payable. A schedule of possible payments could be as above depending on the preferred partner and trust actions. The expected timeline for this next round of procurement proposed by NHPower, based on the first cohort experience and starting July is: [ substitute site financial model ] Leading to a project starting in Jan 2025 with energy delivery planned for 2029. There are three financial options for the drill stage, these will be decided on during the proving period and will center on the availability of capital and the transfer of risk. The trust could seek an off-balance model using the development of the [Wessex field] as an initial 3rd party customer to utilise surplus energy capacity the well development may have. To achieve this it will be expected that a minimum of 10% of the energy produced will be utilized by others from a distributed heat network. Expressions of interest will be sought from the adjacent business the Hotel, Law Courts, and the offices. It is also recommended that future developments on the trust land will be tied into the energy network as a condition of any build. Map showing study area boundary and location of the potential Heat Network |
| Key Recommendations: | - To recognise that there is a significant geothermal opportunity for decarbonisation of the hospital site with potential to supply additional demand on the adjacent development. - To enter into agreement to join the second round of geothermal procurement and commit to the Discover/feasibility stage with scope to moving to Prove stage if found viable. |
| Implications associated with this item: | Council of Governors ☐ Equality and Diversity ☐ Financial ☒ Operational Performance ☒ People (inc Staff, Patients) ☐ Public Consultation ☐ Quality ☐ Regulatory ☐ Strategy/Transformation ☐ System ☐ Financial implication – The funding required for feasibility phase Operational Performance – The future operating cost of the site and the security of energy supply Regulatory – NHS carbon reduction targets |
| CQC Reference: | Safe ☐ Effective ☒ Caring ☐ Responsive ☐ Well Led ☐ Use of Resources ☒ |

| Report History: Committees/Meetings at which the item has been considered: | Date | Outcome |
| --- | --- | --- |
| Please insert details of Committees/Meetings where the item has been considered | Please insert meeting date | Please provide outcome from Committee/Meeting at which item was considered. If meeting has not yet taken place at the time of submission of this item, please specify this here |

| Reason for submission to the Board (or, as applicable, Council of Governors) in Private Only (where relevant) | Commercial confidentiality ☐ Patient confidentiality ☐ Staff confidentiality ☐ Other exceptional reason ☐ |
| --- | --- |

Appendix 1 –